## Sheet1
Run		Comment
		trigger from laser, only laser bit in trigger tpat bit					T0 counts physical triggers only in spill
		detectors included: Triggers, veto box, GEM, CSC (arms), DCH, TOF400, TOF700, LAND, ToFCal

Run391		ToF-Cal 200us, ToFCal run failed (after 390k)
Run392		removed signal cable TOFCal L004U, L208D

		LAND starting slowly
397		after restart Tofcal
398		change laser trigger to cosmcis from TofCal, and turn off laser: put Cal mult signal into laser trigger input (“fake laser trgger”)
399		same setting but now with Cal2 trigger (reconnected ToFCal signal that were removed for mapping check)
400		Cal trigger, FAILED after ~390k due to tofcal
401		FAILED after ~50k due to Tofcal
402		Failed after 1.9Mio due to tofcal
		c5n19 DAQ scaler machines → tools → counter dialog
		Bmn-msc-1

tof_laser_afterDryRun		standalone, laser
land_cosmics_hv16		Standalone, Cosmics with gainmatch3

ofer
adi

tof_cosmics_magnet5		SP41 under 1000A

COMPARE	tof_cosmics248.root		tof_cosmics_magnet5.root
						;
COMPARE	tof_laser_afterDryRun.root		tof_laser_magnet5.root				;
							;

MAGNET ON/OFF Tests
tofcal_cosmics_magnetoff.lmd		cosmics early before magnet on, large stat
406	failed	first run, laser 2kHz, w/ photo diode, no magnet on. Slightly increased thresholds for tofcal to avoid jumps as seen in standalone “tofcal_laser_magnetoff”
407	failed	same conditions

tofcal_laser_magnetoff2.lmd		first run standalone with increased thresholds after “tofcal_laser_magnetoff”

408		laser, 30mV

410	failed	laser 60mV = 1kA

tofcal_laser_magneton1		stable at 60mV
tofcal_laser_magneton2		ramp up phase to 90mV				trigger rate for all about 2.5kHz
tofcal_laser_magneton3		stable at 90mV
tofcal_laser_magneton4		same, stable at 90mV
tofcal_laser_magneton5		ramp up to 100mV (1.7kA)
tofcal_laser_magneton6		stable at 100mV
tofcal_laser_magneton7		same, stable at 100mV
tofcal_laser_magneton8		same, stable at 100mV
(don’t use run 9)
412	failed	Switch to main DAQ: laser, 100mV
413	failed (not tofcal)	same as 412

tofcal_cosmics_magneton9.lmd		turn off laser, run cosmics, 2Mio

tofcal_laser_magneton10.lmd		turn on laser, before magnet ramped down (still 100mV)
tofcal_laser_magneton11.lmd		before ramp down
tofcal_laser_magneton12.lmd		ramp down

tofcal_laser_magnetoff14.lmd		laser after ramp down		//rate difference seen in cal w/ and w/o magnet
tofcal_laser_magnetoff15.lmd		same as 14		maybe disturbed laser because of work at TofCal
tofcal_laser_magnetoff16.lmd		0 field
tofcal_laser_magnetoff17.lmd		0 field

tofcal_cosmics_magnetoff18.lmd		0 field, cosmics run 3.5Mio)

02/18/22	LASER ON and increased HV for Calorimeter (/home/srcatbmn-2021/wk/hvsys/hv_scan/gainmatch8 (Feb17) vs gainmatch9 (Feb 18)
tofcal_laser_magnetoff19.lmd
tofcal_laser_magnetoff20.lmd

tofcal_laser_magneton21.lmd		ramp up to 10mV
tofcal_laser_magneton22.lmd		stable at 10mV (= 200A)

tofcal_laser_magneton23.lmd		ramp up and stable at 23 mV (~400A)
tofcal_laser_magneton24.lmd		stable at 23mV and ramp up to 37mV
tofcal_laser_magneton25.lmd		ramp up to 60mV
tofcal_laser_magneton26.lmd		longer run with ramp up to 107mV (1800A)
tofcal_laser_magneton27.lmd		stable at 107mV
tofcal_laser_magneton28.lmd		stable at 112mV

run414	failed (350k)	main DAQ, stable at 112mV
415	stopped for no obvious reason	main DAQ, stable at 112mV
416	failed (650k)	main DAQ, stable at 112mV

tofcal_laser_magneton29.lmd		standalone, stable at 112mV

run417	failed 5k	main DAQ, stable at 112mV
418	failed 20k

422	failed 100k
423	failed 190k
424		Long run (900k, not failed, stopped by me) main DAQ, stable at 112mV

425	failed 750k	0 field, laser after ramp down

tofcal_laser_magnetoff30.lmd		0 field, standalone
tofcal_cosmics_magnetoff31.lmd		0 field, cosmics