## Sheet1
Magnet test. Laser 2 kHz, Feb 28		spill 7s + 3s

no field, before test		tofcal_magnet_laser1

main DAQ, field at ~1800A = 103mV, hv_tof gainmatch 14
#
516	failed		if failed, it’s because of ToF-Cal
517	failed
518	failed
519		500k
520		300k
521	failed
522		200k
523		200k
524		200k
525		200k
526		failed w/o reason
527		artifact
528		200k
529	failed
530	failed
531		200k
532
Ramp down
533	failed	ramp down
534	failed	ramp down
535	failed	ramp down
536	failed	ramp down
0 field
537	failed	0 field
538	failed	0 field	190k
539
540	failed
541	failed
542

Ramp up: looks lile all stll 0 field
543	failed
544	failed
545	failed
546	failed
547	failed
548	failed
549		270k
550	failed
551	failed
		220k

Ramp up
552		partially ramp up
553
554		ramp up and full field

Full field
555		stopped without reason
556	failed
557	failed
558		200k
559		260k
560		320k
561	failed
562		200k
563		200k
564	stopped w/o reason
565	failed

Ramp down
566		still with full field
567	ramp down

0 field
568	failed	180k
569	failed	40k
570		200k
571	failed	55k
572	failed
573	failed	100k
574		300k
575	failed	60k
576	failed	50k
577	failed	130k
578		200k
579	failed	9k
580	failed	190k
581	failed
582	failed	200k

03/02/22	Magnet test with cosmics

magnet off, laser 1.5 kHz, trigger bit was BT

590
591
592		starting with veto box included
593
594
595
596		500k

597		ramp up to 107mV

magnet on
598	200k	stable field
599	500k
600	37k	failed
601	500k

switch to cosmic trigger, created from fan out from tofL, tofR, cal and send as “laser trigger” to DAQ
in parallel, laser is running with 1.5kHz but downscale in DAQ by factor 100 which is

602	failed	20k
603	failed	20k
604	failed	also downscale tofcal by factor 2

now reduce laser to 10Hz, no downscale
605	failed
606	failed
607	failed

608	with reduced trigger delay
	failed “only” after 500k
609	failed 200k
610	failed 100k
611	failed
612	failed
613		turned off laser
614	failed
615	failed
616	failed	around here also put the trigger delay back to 5s
617	failed	around here also changed spill from 7+3s to 14+1s
618	failed	500k
619	failed	130k
620	failed	60k
621	failed	90k
622	failed
623	failed	50k
624	failed	20k
625	failed	260k
626	failed
627	failed	270k
628	failed	3k

turn on laser again, 10Hz
629	failed	450k
630	failed	550k
631	failed	76k
632	failed
633	failed	170k
634		66k
635		25k

take out cal (~3kHz) from trigger logic, rate in DAQ now ~2kHz
636		1Mio, stopped properly
637	failed	800k
638		1Mio, stopped properly

put cal trigger signal back
639	failed	40k
640	failed	110k
641	failed	250k
642	failed	870k
643	failed	310k
644	failed	17k
645	failed	145k
646		1Mio, stopped properly
647	failed	200k
648	failed	540k
649	failed	100k
650	failed	490k
651	failed	215k
652		1Mio, stopped properly
653	failed	110k
654	failed	740k
655	failed	215k
656	failed	restart VME
657	failed	320k
658	failed	658k

659		250k, after break for Timur Hall sensor measurement
660	Start-fail
661	failed	200k
662	failed
663	failed	590k
664	failed	230k
665	failed	50k
666	failed	970k
667	failed	100k
0 field
668	failed	Magnet power off / emergency, take run at 0 field 240k
669	failed	6k
670	failed	200k
671	failed	100k
672	failed	360k
673	failed	130k
674	failed	114k
675	failed	3k	maybe already affected yb ramp up
676	failed	35k
677	failed	10k
Ramp up again
678	failed	230k
679	failed	70k
nominal field 1800A
680	failed	75k
681	failed	530k
682	failed	615k
683	failed	1Mi
684	failed	80k
685	failed	540k
686	failed	90k
687	failed	230k
688	failed	200k
689	failed	15k
690	failed	810k
691		100k
692
laser at 1.5kHz
693	failed	18k
694
695
1600A
696
697
698
699
700
701
702
703
704
705
706
707
708
709
710
711
712
713
714
715
716
717
718
719
720
721
722
723
724
725
726
727
728	ramp down
729
730
731
732
0 field
733
734
735
736
reduce laser to 10Hz again
737		dont use
738	failed	230k
739		20k
740	failed
741	failed
742	failed
743	failed
744	failed	20k
745	failed
746	failed
747	failed
748	failed
749	failed
750	failed
751	failed
752	failed
753	failed
754	failed
755	failed
756	failed
757	failed
758	failed
759	failed
Take cal trigger out	from 4kHz to 2kHz
760	1.2Mio,stopped properly
INCREASE CFD THRESHOLD LEVEL FOR CAL MULTIPLICTIY FROM -180mV TO -220mV; try to reduce some background signal in CFD output
761	failed	200k
762	failed	4k
763	failed	200k
764	failed	20k
765	failed	55k
766	failed	25k
767	failed	90k
768	failed	300k
769	failed
770	failed	200k
771	failed	5k
772	failed
773	failed
774	failed
775	failed
776	failed
777	failed	240k
778	failed	150k
779	failed
780	failed
781	failed
Switch to standalone DAQ
tofcal_cosmics258.lmd		7Mio